IESNA:LM-63

[ISSUEDATE] 29 October 2021

[TESTLAB] Spectra Lux

[TEST] S2110293-R1

[MANUFAC] Eclairage Luciole Inc.

[LUMCAT] Felton-30K

[LUMINAIRE] Felton

[LAMP] Clusters of 929000778613 LEDs c/w Keystone Driver KTLD-50-UV-SC1400-56-VDIM-U7 @ 120.00V

[\_BURNING] Vertical Base Up (1,503 Luminaire Lumens)

[\_REFLECTOR] None

[\_LENS] Opalin Flat Diffuser

[\_HOUSING] Grey Felt Body

[\_NOMINAL COLOR] 3000 K

[\_DRIVE CURRENT] 720 mA

TILT=NONE

1 -1 1.0 73 9 1 1 0.0833 3.7083 0.0000

1.0 1 29.16

 0 2.5 5 7.5 10 12.5 15 17.5 20 22.5

 25 27.5 30 32.5 35 37.5 40 42.5 45 47.5

 50 52.5 55 57.5 60 62.5 65 67.5 70 72.5

 75 77.5 80 82.5 85 87.5 90 92.5 95 97.5

 100 102.5 105 107.5 110 112.5 115 117.5 120 122.5

 125 127.5 130 132.5 135 137.5 140 142.5 145 147.5

 150 152.5 155 157.5 160 162.5 165 167.5 170 172.5

 175 177.5 180

 0 22.5 45 67.5 90 112.5 135 157.5 180

 755 753 750 746 740 732 723 712

 700 686 671 654 636 617 597 575

 552 528 502 476 449 421 393 363

 332 301 269 237 204 170 137 105

 74 45 22 6 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0

 755 755 754 751 747 741 732 723

 711 695 675 653 631 606 579 550

 519 488 455 422 388 354 319 283

 247 211 176 141 107 75 46 40

 34 23 13 5 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0

 755 758 758 755 751 740 721 702

 678 649 618 586 553 518 481 444

 407 368 329 291 254 217 183 148

 116 87 62 60 58 52 43 35

 26 18 10 3 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0

 755 760 760 757 745 726 703 672

 639 604 568 528 488 447 405 364

 323 284 245 208 173 141 111 82

 69 69 66 61 54 46 38 30

 23 16 9 3 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0

 755 760 760 757 740 720 691 658

 623 586 546 504 462 418 376 334

 294 254 217 181 148 118 89 71

 71 70 65 59 51 44 36 29

 22 15 8 3 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0

 755 760 760 757 745 726 703 672

 639 604 568 528 488 447 405 364

 323 284 245 208 173 141 111 82

 69 69 66 61 54 46 38 30

 23 16 9 3 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0

 755 758 758 755 751 740 721 702

 678 649 618 586 553 518 481 444

 407 368 329 291 254 217 183 148

 116 87 62 60 58 52 43 35

 26 18 10 3 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0

 755 755 754 751 747 741 732 723

 711 695 675 653 631 606 579 550

 519 488 455 422 388 354 319 283

 247 211 176 141 107 75 46 40

 34 23 13 5 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0

 755 753 750 746 740 732 723 712

 700 686 671 654 636 617 597 575

 552 528 502 476 449 421 393 363

 332 301 269 237 204 170 137 105

 74 45 22 6 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0 0 0 0 0 0 0 0

 0